**PROVIDER FEEDBACK FORM – AUTO-DISABLE SAFETY SYRINGES**

Syringe model used (circle one): 1. HMD Kojak 2. BD Emerald PRO 3. Helmject

Number of times used: \_\_\_\_\_\_\_\_\_\_

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Strongly Disagree | Disagree | Neither Agree nor Disagree | Agree | Strongly Agree | This prevents me from safely using the syringe  (Mark with ‘✓’) |
| 1. | Instructions on the job aid were easy to understand. | 1 | 2 | 3 | 4 | 5 |  |
| 2. | The syringe felt high quality during use and disposal. | 1 | 2 | 3 | 4 | 5 |  |
| 3. | It is easy to use this syringe to withdraw from the vial. | 1 | 2 | 3 | 4 | 5 |  |
| 4. | I had a clear view of the injection site and needle tip while performing an injection. | 1 | 2 | 3 | 4 | 5 |  |
| 5. | I had a clear view of any aspirated fluid. | 1 | 2 | 3 | 4 | 5 |  |
| 6. | The safety feature functions as intended. | 1 | 2 | 3 | 4 | 5 |  |
| 8. | It is obvious (by sight or sound) when the safety feature is activated. | 1 | 2 | 3 | 4 | 5 |  |
| 9. | The safety feature activates at the proper time. | 1 | 2 | 3 | 4 | 5 |  |
| 10. | The syringe is comfortable to hold in my hand. | 1 | 2 | 3 | 4 | 5 |  |
| 11. | The syringe is easy to handle while wearing gloves. | 1 | 2 | 3 | 4 | 5 |  |
| 12 | The plunger is easy to depress. | 1 | 2 | 3 | 4 | 5 |  |
| 11. | This syringe takes the same amount of time to use as a standard syringe. | 1 | 2 | 3 | 4 | 5 |  |
| 12. | This syringe is as easy to dispose of as a standard syringe. | 1 | 2 | 3 | 4 | 5 |  |
|  | The clients seem as comfortable with injections from this syringe as with standard syringe injections. | 1 | 2 | 3 | 4 | 5 |  |
| 13. | The syringe meets my clinical needs. | 1 | 2 | 3 | 4 | 5 |  |
| 14. | I would like additional training on the use of this syringe. | 1 | 2 | 3 | 4 | 5 |  |

**Comments:**